## resultsX
Element | SiO2_pct
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 16638.5156 | 128.7599 | 0.096498
Standard deviation (+/-) | 13.6994 | 1.6727 | 0.045801 | 1.6734
Variance | 187.6745 | 2.7981 | 0.0020978 | 2.8002
% of total variance | 98.5299 | 1.469 | 0.001101 | 1.4701
Expanded relative uncertainty at the 95.44% confidence level |  | 4.5073 | 0.12341 | 4.5089
Expanded uncertainty factor at the 95.44% confidence level |  | 1.0609 | 1.0013 | 1.0609
Mean | 74.2246
Total standard deviation (+/-) | 13.8013
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 12.2192 | 0.99206 | 0.045973 | 0.99312
Variance | 149.3078 | 0.98417 | 0.0021135 | 0.98629
% of total variance | 99.3438 | 0.65483 | 0.001406 | 0.65624
Expanded relative uncertainty at the 95.44% confidence level |  | 2.634 | 0.12206 | 2.6368
Mean | 75.3281
Total standard deviation (+/-) | 12.2594
Uncertainty, u, for one sample | 0.99312
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 1.9862
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 2.6368
Uncertainty, U, for four measurements at each duplicated sample site | 0.70224
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 1.8645
*********************************************************************************
Element | TiO2_pct
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 5.1842 | 0.049703 | 0.000157
Standard deviation (+/-) | 0.2416 | 0.032845 | 0.001844 | 0.032897
Variance | 0.058371 | 0.0010788 | 3.4e-06 | 0.0010822
% of total variance | 98.1797 | 1.8145 | 0.005722 | 1.8203
Expanded relative uncertainty at the 95.44% confidence level |  | 12.8653 | 0.72249 | 12.8856
Expanded uncertainty factor at the 95.44% confidence level |  | 1.3104 | 1.0072 | 1.3105
Mean | 0.5106
Total standard deviation (+/-) | 0.24383
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 0.26514 | 0.017022 | 0.0017 | 0.017107
Variance | 0.070297 | 0.0002898 | 2.9e-06 | 0.0002926
% of total variance | 99.5854 | 0.41047 | 0.004096 | 0.41457
Expanded relative uncertainty at the 95.44% confidence level |  | 6.7289 | 0.67219 | 6.7624
Mean | 0.50594
Total standard deviation (+/-) | 0.26569
Uncertainty, u, for one sample | 0.017107
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 0.034214
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 6.7624
Uncertainty, U, for four measurements at each duplicated sample site | 0.012096
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 4.7817
*********************************************************************************
Element | Al2O3_pct
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 1387.9484 | 8.5312 | 0.0122
Standard deviation (+/-) | 3.9597 | 0.4305 | 0.016285 | 0.43081
Variance | 15.6794 | 0.18533 | 0.0002652 | 0.18559
% of total variance | 98.8302 | 1.1682 | 0.001672 | 1.1698
Expanded relative uncertainty at the 95.44% confidence level |  | 10.0556 | 0.38039 | 10.0628
Expanded uncertainty factor at the 95.44% confidence level |  | 1.2175 | 1.0058 | 1.2176
Mean | 8.5624
Total standard deviation (+/-) | 3.9831
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 4.4831 | 0.32085 | 0.016937 | 0.3213
Variance | 20.098 | 0.10294 | 0.0002869 | 0.10323
% of total variance | 99.489 | 0.50959 | 0.00142 | 0.51101
Expanded relative uncertainty at the 95.44% confidence level |  | 7.4985 | 0.39582 | 7.5089
Mean | 8.5577
Total standard deviation (+/-) | 4.4946
Uncertainty, u, for one sample | 0.3213
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 0.64259
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 7.5089
Uncertainty, U, for four measurements at each duplicated sample site | 0.22719
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 5.3096
*********************************************************************************
Element | Fe2O3_pct
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 358.5218 | 3.9522 | 0.00325
Standard deviation (+/-) | 2.0078 | 0.29306 | 0.008405 | 0.29318
Variance | 4.0312 | 0.085883 | 7.07e-05 | 0.085953
% of total variance | 97.9123 | 2.086 | 0.001716 | 2.0877
Expanded relative uncertainty at the 95.44% confidence level |  | 20.1346 | 0.5775 | 20.1429
Expanded uncertainty factor at the 95.44% confidence level |  | 1.5672 | 1.0055 | 1.5672
Mean | 2.911
Total standard deviation (+/-) | 2.0291
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 1.7437 | 0.14636 | 0.006114 | 0.14649
Variance | 3.0406 | 0.021422 | 3.74e-05 | 0.021459
% of total variance | 99.2992 | 0.69958 | 0.001221 | 0.70081
Expanded relative uncertainty at the 95.44% confidence level |  | 10.8889 | 0.4549 | 10.8984
Mean | 2.6883
Total standard deviation (+/-) | 1.7499
Uncertainty, u, for one sample | 0.14649
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 0.29298
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 10.8984
Uncertainty, U, for four measurements at each duplicated sample site | 0.10358
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 7.7063
*********************************************************************************
Element | MnO_pct
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 0.23107 | 0.001726 | 7e-06
Standard deviation (+/-) | 0.051059 | 0.00612 | 0.00039 | 0.006133
Variance | 0.0026071 | 3.75e-05 | 2e-07 | 3.76e-05
% of total variance | 98.5779 | 1.4163 | 0.005754 | 1.4221
Expanded relative uncertainty at the 95.44% confidence level |  | 20.0162 | 1.2758 | 20.0568
Expanded uncertainty factor at the 95.44% confidence level |  | 1.6711 | 1.0163 | 1.6715
Mean | 0.061152
Total standard deviation (+/-) | 0.051426
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 0.033651 | 0.004273 | 0 | 0.004273
Variance | 0.0011324 | 1.83e-05 | 0 | 1.83e-05
% of total variance | 98.413 | 1.587 | 0 | 1.587
Expanded relative uncertainty at the 95.44% confidence level |  | 16.4287 | 0 | 16.4287
Mean | 0.052022
Total standard deviation (+/-) | 0.033921
Uncertainty, u, for one sample | 0.004273
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 0.008547
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 16.4287
Uncertainty, U, for four measurements at each duplicated sample site | 0.003022
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 11.6169
*********************************************************************************
Element | MgO_pct
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 106.3133 | 0.4889 | 0.0066
Standard deviation (+/-) | 1.0967 | 0.10275 | 0.011978 | 0.10344
Variance | 1.2028 | 0.010556 | 0.0001435 | 0.0107
% of total variance | 99.1182 | 0.86993 | 0.011824 | 0.88175
Expanded relative uncertainty at the 95.44% confidence level |  | 22.5813 | 2.6326 | 22.7342
Expanded uncertainty factor at the 95.44% confidence level |  | 1.5857 | 1.0667 | 1.5928
Mean | 0.91
Total standard deviation (+/-) | 1.1016
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 0.61467 | 0.029965 | 0.008766 | 0.031221
Variance | 0.37782 | 0.0008979 | 7.68e-05 | 0.0009748
% of total variance | 99.7427 | 0.23704 | 0.020287 | 0.25733
Expanded relative uncertainty at the 95.44% confidence level |  | 8.2923 | 2.4259 | 8.6399
Mean | 0.72272
Total standard deviation (+/-) | 0.61546
Uncertainty, u, for one sample | 0.031221
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 0.062442
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 8.6399
Uncertainty, U, for four measurements at each duplicated sample site | 0.022077
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 6.1093
*********************************************************************************
Element | CaO_pct
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 2697.5732 | 15.1199 | 0.013085
Standard deviation (+/-) | 5.5218 | 0.57319 | 0.016866 | 0.57344
Variance | 30.4899 | 0.32855 | 0.0002845 | 0.32883
% of total variance | 98.933 | 1.0661 | 0.000923 | 1.067
Expanded relative uncertainty at the 95.44% confidence level |  | 56.9673 | 1.6763 | 56.992
Expanded uncertainty factor at the 95.44% confidence level |  | 1.5705 | 1.0157 | 1.571
Mean | 2.0124
Total standard deviation (+/-) | 5.5515
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 0.60872 | 0.095392 | 0.002858 | 0.095435
Variance | 0.37054 | 0.0090997 | 8.2e-06 | 0.0091078
% of total variance | 97.601 | 2.3968 | 0.002152 | 2.399
Expanded relative uncertainty at the 95.44% confidence level |  | 24.4099 | 0.73138 | 24.4209
Mean | 0.78158
Total standard deviation (+/-) | 0.61616
Uncertainty, u, for one sample | 0.095435
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 0.19087
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 24.4209
Uncertainty, U, for four measurements at each duplicated sample site | 0.067483
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 17.2682
*********************************************************************************
Element | Na2O_pct
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 67.1485 | 0.088 | 0.0127
Standard deviation (+/-) | 0.87298 | 0.042131 | 0.016616 | 0.045289
Variance | 0.7621 | 0.001775 | 0.0002761 | 0.0020511
% of total variance | 99.7316 | 0.23228 | 0.03613 | 0.26842
Expanded relative uncertainty at the 95.44% confidence level |  | 7.1487 | 2.8194 | 7.6846
Expanded uncertainty factor at the 95.44% confidence level |  | 1.2066 | 1.0436 | 1.2123
Mean | 1.1787
Total standard deviation (+/-) | 0.87416
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 0.92774 | 0.032242 | 0.011814 | 0.034338
Variance | 0.86071 | 0.0010395 | 0.0001396 | 0.0011791
% of total variance | 99.8632 | 0.12061 | 0.016194 | 0.13681
Expanded relative uncertainty at the 95.44% confidence level |  | 5.6083 | 2.055 | 5.973
Mean | 1.1498
Total standard deviation (+/-) | 0.92838
Uncertainty, u, for one sample | 0.034338
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 0.068676
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 5.973
Uncertainty, U, for four measurements at each duplicated sample site | 0.024281
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 4.2235
*********************************************************************************
Element | K2O_pct
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 56.8073 | 0.32656 | 0.003673
Standard deviation (+/-) | 0.80124 | 0.084019 | 0.008936 | 0.084492
Variance | 0.64199 | 0.0070591 | 7.98e-05 | 0.007139
% of total variance | 98.9002 | 1.0875 | 0.012301 | 1.0998
Expanded relative uncertainty at the 95.44% confidence level |  | 9.9983 | 1.0634 | 10.0547
Expanded uncertainty factor at the 95.44% confidence level |  | 1.2099 | 1.0108 | 1.2102
Mean | 1.6807
Total standard deviation (+/-) | 0.80568
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 0.8059 | 0.066022 | 0.006555 | 0.066346
Variance | 0.64947 | 0.0043589 | 4.3e-05 | 0.0044018
% of total variance | 99.3268 | 0.66662 | 0.006572 | 0.6732
Expanded relative uncertainty at the 95.44% confidence level |  | 8.0203 | 0.79633 | 8.0597
Mean | 1.6464
Total standard deviation (+/-) | 0.80862
Uncertainty, u, for one sample | 0.066346
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 0.13269
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 8.0597
Uncertainty, U, for four measurements at each duplicated sample site | 0.046914
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 5.6991
*********************************************************************************
Element | P2O5_pct
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 0.16765 | 0.015564 | 5.3e-05
Standard deviation (+/-) | 0.041665 | 0.018379 | 0.001073 | 0.01841
Variance | 0.001736 | 0.0003378 | 1.2e-06 | 0.0003389
% of total variance | 83.6655 | 16.279 | 0.055529 | 16.3345
Expanded relative uncertainty at the 95.44% confidence level |  | 40.6742 | 2.3756 | 40.7436
Expanded uncertainty factor at the 95.44% confidence level |  | 1.5316 | 1.0312 | 1.5333
Mean | 0.09037
Total standard deviation (+/-) | 0.045551
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 0.048019 | 0.008629 | 0.000978 | 0.008684
Variance | 0.0023058 | 7.45e-05 | 1e-06 | 7.54e-05
% of total variance | 96.8329 | 3.1269 | 0.040181 | 3.1671
Expanded relative uncertainty at the 95.44% confidence level |  | 19.2045 | 2.177 | 19.3275
Mean | 0.089864
Total standard deviation (+/-) | 0.048798
Uncertainty, u, for one sample | 0.008684
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 0.017369
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 19.3275
Uncertainty, U, for four measurements at each duplicated sample site | 0.006141
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 13.6666
*********************************************************************************
Element | Cl_pct
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 5.8e-05 | 2.1e-05 | 6.1e-05
Standard deviation (+/-) | 0.00066 | 0 | 0.001152 | 0.001152
Variance | 4e-07 | 0 | 1.3e-06 | 1.3e-06
% of total variance | 24.7336 | 0 | 75.2664 | 75.2664
Expanded relative uncertainty at the 95.44% confidence level |  | 0 | 47.2961 | 47.2961
Expanded uncertainty factor at the 95.44% confidence level |  | 1 | 1.6167 | 1.6167
Mean | 0.00487
Total standard deviation (+/-) | 0.001327
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 0.000717 | 0 | 0.001132 | 0.001132
Variance | 5e-07 | 0 | 1.3e-06 | 1.3e-06
% of total variance | 28.6097 | 0 | 71.3903 | 71.3903
Expanded relative uncertainty at the 95.44% confidence level |  | 0 | 46.6317 | 46.6317
Mean | 0.004857
Total standard deviation (+/-) | 0.00134
Uncertainty, u, for one sample | 0.001132
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 0.002265
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 46.6317
Uncertainty, U, for four measurements at each duplicated sample site | 0.000801
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 32.9736
*********************************************************************************
Element | LOI_pct
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 3079.3521 | 44.8715 | 0.0077
Standard deviation (+/-) | 5.8741 | 0.98762 | 0.012938 | 0.9877
Variance | 34.5049 | 0.97538 | 0.0001674 | 0.97555
% of total variance | 97.2505 | 2.7491 | 0.000472 | 2.7495
Expanded relative uncertainty at the 95.44% confidence level |  | 25.9491 | 0.33994 | 25.9513
Expanded uncertainty factor at the 95.44% confidence level |  | 1.4589 | 1.0048 | 1.459
Mean | 7.612
Total standard deviation (+/-) | 5.9565
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 2.7707 | 0.74283 | 0.012061 | 0.74293
Variance | 7.6766 | 0.55179 | 0.0001455 | 0.55194
% of total variance | 93.2924 | 6.7059 | 0.001768 | 6.7076
Expanded relative uncertainty at the 95.44% confidence level |  | 22.5432 | 0.36602 | 22.5462
Mean | 6.5903
Total standard deviation (+/-) | 2.8685
Uncertainty, u, for one sample | 0.74293
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 1.4859
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 22.5462
Uncertainty, U, for four measurements at each duplicated sample site | 0.52533
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 15.9426
*********************************************************************************
Element | As_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 2574.3262 | 145.5 | 230
Standard deviation (+/-) | 5.2604 | 0.81427 | 2.2361 | 2.3797
Variance | 27.6722 | 0.66304 | 5 | 5.663
% of total variance | 83.0118 | 1.989 | 14.9991 | 16.9882
Expanded relative uncertainty at the 95.44% confidence level |  | 9.0257 | 24.7853 | 26.3776
Expanded uncertainty factor at the 95.44% confidence level |  | 1 | 1.4155 | 1.4155
Mean | 18.0435
Total standard deviation (+/-) | 5.7737
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 5.5622 | 0.95269 | 1.8936 | 2.1197
Variance | 30.9384 | 0.90762 | 3.5857 | 4.4933
% of total variance | 87.3184 | 2.5616 | 10.12 | 12.6816
Expanded relative uncertainty at the 95.44% confidence level |  | 10.5724 | 21.0139 | 23.5236
Mean | 18.0222
Total standard deviation (+/-) | 5.9524
Uncertainty, u, for one sample | 2.1197
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 4.2395
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 23.5236
Uncertainty, U, for four measurements at each duplicated sample site | 1.4989
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 16.6337
*********************************************************************************
Element | Ba_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 1551361.375 | 13837.5 | 543
Standard deviation (+/-) | 132.207 | 17.173 | 3.4357 | 17.5133
Variance | 17478.6992 | 294.9131 | 11.8043 | 306.7174
% of total variance | 98.2755 | 1.6582 | 0.066371 | 1.7245
Expanded relative uncertainty at the 95.44% confidence level |  | 10.834 | 2.1675 | 11.0487
Expanded uncertainty factor at the 95.44% confidence level |  | 1.2026 | 1.0222 | 1.2042
Mean | 317.0217
Total standard deviation (+/-) | 133.362
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 140.023 | 11.2345 | 3.2141 | 11.6852
Variance | 19606.4355 | 126.2141 | 10.3307 | 136.5448
% of total variance | 99.3084 | 0.63929 | 0.052326 | 0.69161
Expanded relative uncertainty at the 95.44% confidence level |  | 7.1864 | 2.056 | 7.4747
Mean | 312.6596
Total standard deviation (+/-) | 140.5097
Uncertainty, u, for one sample | 11.6852
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 23.3705
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 7.4747
Uncertainty, U, for four measurements at each duplicated sample site | 8.2627
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 5.2854
*********************************************************************************
Element | Ce_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 35402.4375 | 8156.75 | 6016.5
Standard deviation (+/-) | 17.7099 | 10.5794 | 11.4365 | 15.5794
Variance | 313.6401 | 111.9239 | 130.7935 | 242.7174
% of total variance | 56.3738 | 20.1173 | 23.5089 | 43.6262
Expanded relative uncertainty at the 95.44% confidence level |  | 49.6458 | 53.6678 | 73.1091
Expanded uncertainty factor at the 95.44% confidence level |  | 1.6897 | 2.1359 | 2.5156
Mean | 42.6196
Total standard deviation (+/-) | 23.5872
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 21.5004 | 7.2979 | 10.5577 | 12.8345
Variance | 462.2678 | 53.2594 | 111.4645 | 164.7238
% of total variance | 73.7279 | 8.4944 | 17.7777 | 26.2721
Expanded relative uncertainty at the 95.44% confidence level |  | 34.2467 | 49.5438 | 60.2281
Mean | 42.6196
Total standard deviation (+/-) | 25.0398
Uncertainty, u, for one sample | 12.8345
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 25.669
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 60.2281
Uncertainty, U, for four measurements at each duplicated sample site | 9.0753
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 42.5877
*********************************************************************************
Element | Co_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 8539.8535 | 140.625 | 135.5
Standard deviation (+/-) | 9.7732 | 1.2587 | 1.7163 | 2.1284
Variance | 95.5153 | 1.5842 | 2.9457 | 4.5299
% of total variance | 95.4722 | 1.5835 | 2.9443 | 4.5278
Expanded relative uncertainty at the 95.44% confidence level |  | 36.9959 | 50.4469 | 62.5587
Expanded uncertainty factor at the 95.44% confidence level |  | 1.6975 | 2.1244 | 2.5112
Mean | 6.8043
Total standard deviation (+/-) | 10.0023
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 2.3874 | 1.2162 | 1.6158 | 2.0224
Variance | 5.6995 | 1.4791 | 2.6108 | 4.0899
% of total variance | 58.2212 | 15.109 | 26.6698 | 41.7788
Expanded relative uncertainty at the 95.44% confidence level |  | 51.5624 | 68.5053 | 85.7418
Mean | 4.7173
Total standard deviation (+/-) | 3.1288
Uncertainty, u, for one sample | 2.0224
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 4.0447
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 85.7418
Uncertainty, U, for four measurements at each duplicated sample site | 1.43
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 60.6286
*********************************************************************************
Element | Cr_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 6245517.5 | 2903.75 | 543.5
Standard deviation (+/-) | 266.3461 | 7.5642 | 3.4373 | 8.3086
Variance | 70940.2266 | 57.2174 | 11.8152 | 69.0326
% of total variance | 99.9028 | 0.080577 | 0.016639 | 0.097216
Expanded relative uncertainty at the 95.44% confidence level |  | 13.6252 | 6.1916 | 14.966
Expanded uncertainty factor at the 95.44% confidence level |  | 1.24 | 1.1351 | 1.2836
Mean | 111.0326
Total standard deviation (+/-) | 266.4756
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 31.5486 | 3.0338 | 3.2104 | 4.417
Variance | 995.3151 | 9.2038 | 10.3065 | 19.5103
% of total variance | 98.0775 | 0.90693 | 1.0156 | 1.9225
Expanded relative uncertainty at the 95.44% confidence level |  | 10.4902 | 11.1008 | 15.2732
Mean | 57.8404
Total standard deviation (+/-) | 31.8563
Uncertainty, u, for one sample | 4.417
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 8.8341
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 15.2732
Uncertainty, U, for four measurements at each duplicated sample site | 3.1233
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 10.7998
*********************************************************************************
Element | Cs_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 479.4566 | 81.75 | 196
Standard deviation (+/-) | 2.1354 | 0 | 2.0642 | 2.0642
Variance | 4.5598 | 0 | 4.2609 | 4.2609
% of total variance | 51.6944 | 0 | 48.3056 | 48.3056
Expanded relative uncertainty at the 95.44% confidence level |  | 0 | 44.5264 | 44.5264
Expanded uncertainty factor at the 95.44% confidence level |  | 1 | 1.7539 | 1.7539
Mean | 9.2717
Total standard deviation (+/-) | 2.97
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 2.2062 | 0 | 2.2 | 2.2
Variance | 4.8672 | 0 | 4.84 | 4.84
% of total variance | 50.1403 | 0 | 49.8597 | 49.8597
Expanded relative uncertainty at the 95.44% confidence level |  | 0 | 47.0323 | 47.0323
Mean | 9.3553
Total standard deviation (+/-) | 3.1156
Uncertainty, u, for one sample | 2.2
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 4.4
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 47.0323
Uncertainty, U, for four measurements at each duplicated sample site | 1.5556
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 33.2569
*********************************************************************************
Element | Ga_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 2602.6086 | 25.75 | 40.75
Standard deviation (+/-) | 5.4125 | 0.34183 | 0.94121 | 1.0014
Variance | 29.2952 | 0.11685 | 0.88587 | 1.0027
% of total variance | 96.6905 | 0.38566 | 2.9239 | 3.3095
Expanded relative uncertainty at the 95.44% confidence level |  | 5.6664 | 15.602 | 16.5991
Expanded uncertainty factor at the 95.44% confidence level |  | 1 | 1.386 | 1.386
Mean | 12.0652
Total standard deviation (+/-) | 5.5044
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 5.8927 | 0.426 | 0.75063 | 0.86309
Variance | 34.7243 | 0.18147 | 0.56344 | 0.74492
% of total variance | 97.8998 | 0.51164 | 1.5885 | 2.1002
Expanded relative uncertainty at the 95.44% confidence level |  | 7.1022 | 12.5145 | 14.3894
Mean | 11.9962
Total standard deviation (+/-) | 5.9556
Uncertainty, u, for one sample | 0.86309
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 1.7262
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 14.3894
Uncertainty, U, for four measurements at each duplicated sample site | 0.61029
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 10.1748
*********************************************************************************
Element | Nb_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 1606.9565 | 19 | 41
Standard deviation (+/-) | 4.249 | 0 | 0.94409 | 0.94409
Variance | 18.0543 | 0 | 0.8913 | 0.8913
% of total variance | 95.2955 | 0 | 4.7045 | 4.7045
Expanded relative uncertainty at the 95.44% confidence level |  | 0 | 22.2708 | 22.2708
Expanded uncertainty factor at the 95.44% confidence level |  | 1 | 1.5886 | 1.5886
Mean | 8.4783
Total standard deviation (+/-) | 4.3527
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 4.2653 | 0 | 0.97277 | 0.97277
Variance | 18.1926 | 0 | 0.94629 | 0.94629
% of total variance | 95.0557 | 0 | 4.9443 | 4.9443
Expanded relative uncertainty at the 95.44% confidence level |  | 0 | 23.469 | 23.469
Mean | 8.2898
Total standard deviation (+/-) | 4.3748
Uncertainty, u, for one sample | 0.97277
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 1.9455
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 23.469
Uncertainty, U, for four measurements at each duplicated sample site | 0.68785
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 16.5951
*********************************************************************************
Element | Ni_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 6483652.5 | 16006.875 | 111.5
Standard deviation (+/-) | 271.116 | 18.6216 | 1.5569 | 18.6866
Variance | 73503.8828 | 346.7636 | 2.4239 | 349.1875
% of total variance | 99.5272 | 0.46953 | 0.003282 | 0.47281
Expanded relative uncertainty at the 95.44% confidence level |  | 53.7133 | 4.4908 | 53.9007
Expanded uncertainty factor at the 95.44% confidence level |  | 1.3467 | 1.5178 | 1.6695
Mean | 69.337
Total standard deviation (+/-) | 271.7592
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 12.5509 | 1.3676 | 1.063 | 1.7321
Variance | 157.524 | 1.8703 | 1.1299 | 3.0003
% of total variance | 98.131 | 1.1651 | 0.70389 | 1.869
Expanded relative uncertainty at the 95.44% confidence level |  | 20.4616 | 15.9039 | 25.9155
Mean | 13.3675
Total standard deviation (+/-) | 12.6698
Uncertainty, u, for one sample | 1.7321
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 3.4642
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 25.9155
Uncertainty, U, for four measurements at each duplicated sample site | 1.2248
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 18.325
*********************************************************************************
Element | Pb_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 6235.9351 | 162.25 | 87.5
Standard deviation (+/-) | 8.3126 | 1.605 | 1.3792 | 2.1162
Variance | 69.0993 | 2.5761 | 1.9022 | 4.4783
% of total variance | 93.9136 | 3.5012 | 2.5853 | 6.0864
Expanded relative uncertainty at the 95.44% confidence level |  | 25.437 | 21.858 | 33.5382
Expanded uncertainty factor at the 95.44% confidence level |  | 2.0661 | 1.386 | 2.216
Mean | 12.6196
Total standard deviation (+/-) | 8.5777
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 7.7058 | 1.1363 | 1.263 | 1.6989
Variance | 59.379 | 1.2911 | 1.5951 | 2.8863
% of total variance | 95.3646 | 2.0736 | 2.5618 | 4.6354
Expanded relative uncertainty at the 95.44% confidence level |  | 19.0851 | 21.2133 | 28.535
Mean | 11.9075
Total standard deviation (+/-) | 7.8908
Uncertainty, u, for one sample | 1.6989
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 3.3978
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 28.535
Uncertainty, U, for four measurements at each duplicated sample site | 1.2013
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 20.1773
*********************************************************************************
Element | Rb_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 108921.7109 | 899.25 | 249.5
Standard deviation (+/-) | 35.0424 | 4.1033 | 2.3289 | 4.7181
Variance | 1227.9723 | 16.837 | 5.4239 | 22.2609
% of total variance | 98.2195 | 1.3467 | 0.43383 | 1.7805
Expanded relative uncertainty at the 95.44% confidence level |  | 11.821 | 6.7093 | 13.5923
Expanded uncertainty factor at the 95.44% confidence level |  | 1.253 | 1.0839 | 1.2706
Mean | 69.4239
Total standard deviation (+/-) | 35.3586
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 30.0049 | 3.5292 | 1.9076 | 4.0118
Variance | 900.2914 | 12.4554 | 3.6389 | 16.0943
% of total variance | 98.2437 | 1.3592 | 0.39709 | 1.7563
Expanded relative uncertainty at the 95.44% confidence level |  | 10.6818 | 5.7737 | 12.1424
Mean | 66.0789
Total standard deviation (+/-) | 30.2719
Uncertainty, u, for one sample | 4.0118
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 8.0235
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 12.1424
Uncertainty, U, for four measurements at each duplicated sample site | 2.8368
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 8.586
*********************************************************************************
Element | Sc_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 1800.913 | 43.75 | 32.5
Standard deviation (+/-) | 4.4709 | 0.77319 | 0.84055 | 1.1421
Variance | 19.9894 | 0.59783 | 0.70652 | 1.3043
% of total variance | 93.8745 | 2.8075 | 3.318 | 6.1255
Expanded relative uncertainty at the 95.44% confidence level |  | 21.6541 | 23.5405 | 31.9852
Expanded uncertainty factor at the 95.44% confidence level |  | 1.4736 | 1.3476 | 1.631
Mean | 7.1413
Total standard deviation (+/-) | 4.6145
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 4.1877 | 0.82286 | 0.86675 | 1.1951
Variance | 17.5369 | 0.67709 | 0.75126 | 1.4283
% of total variance | 92.4686 | 3.5702 | 3.9612 | 7.5314
Expanded relative uncertainty at the 95.44% confidence level |  | 24.44 | 25.7437 | 35.4972
Mean | 6.7337
Total standard deviation (+/-) | 4.3549
Uncertainty, u, for one sample | 1.1951
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 2.3903
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 35.4972
Uncertainty, U, for four measurements at each duplicated sample site | 0.84509
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 25.1003
*********************************************************************************
Element | Sr_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 245949.9062 | 2081 | 54
Standard deviation (+/-) | 52.6523 | 6.6822 | 1.0835 | 6.7695
Variance | 2772.2656 | 44.6522 | 1.1739 | 45.8261
% of total variance | 98.3739 | 1.5845 | 0.041656 | 1.6261
Expanded relative uncertainty at the 95.44% confidence level |  | 14.9979 | 2.4318 | 15.1938
Expanded uncertainty factor at the 95.44% confidence level |  | 1.2107 | 1.0368 | 1.2148
Mean | 89.1087
Total standard deviation (+/-) | 53.0857
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 51.9859 | 4.8497 | 1.0677 | 4.9658
Variance | 2702.5364 | 23.5192 | 1.14 | 24.6592
% of total variance | 99.0958 | 0.86239 | 0.041802 | 0.9042
Expanded relative uncertainty at the 95.44% confidence level |  | 11.3488 | 2.4986 | 11.6206
Mean | 85.4652
Total standard deviation (+/-) | 52.2226
Uncertainty, u, for one sample | 4.9658
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 9.9316
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 11.6206
Uncertainty, U, for four measurements at each duplicated sample site | 3.5114
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 8.217
*********************************************************************************
Element | Th_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 1773.2064 | 75.6875 | 135.875
Standard deviation (+/-) | 4.3963 | 0.41046 | 1.7187 | 1.767
Variance | 19.3274 | 0.16848 | 2.9538 | 3.1223
% of total variance | 86.0921 | 0.75047 | 13.1575 | 13.9079
Expanded relative uncertainty at the 95.44% confidence level |  | 10.1308 | 42.4191 | 43.612
Expanded uncertainty factor at the 95.44% confidence level |  | 1.2425 | 1.8054 | 1.8765
Mean | 8.1033
Total standard deviation (+/-) | 4.7381
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 4.5888 | 0 | 1.8772 | 1.8772
Variance | 21.0575 | 0 | 3.524 | 3.524
% of total variance | 85.6639 | 0 | 14.3361 | 14.3361
Expanded relative uncertainty at the 95.44% confidence level |  | 0 | 47.4555 | 47.4555
Mean | 7.9116
Total standard deviation (+/-) | 4.958
Uncertainty, u, for one sample | 1.8772
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 3.7545
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 47.4555
Uncertainty, U, for four measurements at each duplicated sample site | 1.3274
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 33.5561
*********************************************************************************
Element | V_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 83931.9766 | 1377.25 | 879.5
Standard deviation (+/-) | 30.6399 | 4.5145 | 4.3726 | 6.2849
Variance | 938.8023 | 20.3804 | 19.1196 | 39.5
% of total variance | 95.9624 | 2.0832 | 1.9544 | 4.0376
Expanded relative uncertainty at the 95.44% confidence level |  | 17.3815 | 16.8353 | 24.198
Expanded uncertainty factor at the 95.44% confidence level |  | 1.3746 | 1.3011 | 1.5113
Mean | 51.9457
Total standard deviation (+/-) | 31.2778
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 30.5413 | 3.6737 | 4.8844 | 6.1117
Variance | 932.77 | 13.496 | 23.8574 | 37.3534
% of total variance | 96.1496 | 1.3912 | 2.4592 | 3.8504
Expanded relative uncertainty at the 95.44% confidence level |  | 14.6764 | 19.5132 | 24.4165
Mean | 50.0625
Total standard deviation (+/-) | 31.1468
Uncertainty, u, for one sample | 6.1117
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 12.2235
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 24.4165
Uncertainty, U, for four measurements at each duplicated sample site | 4.3217
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 17.265
*********************************************************************************
Element | Y_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 6179.1519 | 157.25 | 46.5
Standard deviation (+/-) | 8.277 | 1.7068 | 1.0054 | 1.9809
Variance | 68.5084 | 2.913 | 1.0109 | 3.9239
% of total variance | 94.5826 | 4.0217 | 1.3956 | 5.4174
Expanded relative uncertainty at the 95.44% confidence level |  | 17.9968 | 10.6016 | 20.8873
Expanded uncertainty factor at the 95.44% confidence level |  | 1.3011 | 1.1606 | 1.3531
Mean | 18.9674
Total standard deviation (+/-) | 8.5107
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 9.46 | 0.95918 | 0.98851 | 1.3774
Variance | 89.4918 | 0.92003 | 0.97716 | 1.8972
% of total variance | 97.924 | 1.0067 | 1.0692 | 2.0759
Expanded relative uncertainty at the 95.44% confidence level |  | 10.114 | 10.4233 | 14.5237
Mean | 18.9674
Total standard deviation (+/-) | 9.5598
Uncertainty, u, for one sample | 1.3774
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 2.7548
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 14.5237
Uncertainty, U, for four measurements at each duplicated sample site | 0.97396
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 10.2698
*********************************************************************************
Element | Zn_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 71963.6172 | 529.8125 | 96.625
Standard deviation (+/-) | 28.4958 | 3.2353 | 1.4493 | 3.5451
Variance | 812.0095 | 10.4674 | 2.1005 | 12.5679
% of total variance | 98.4758 | 1.2694 | 0.25474 | 1.5242
Expanded relative uncertainty at the 95.44% confidence level |  | 15.9321 | 7.137 | 17.4576
Expanded uncertainty factor at the 95.44% confidence level |  | 1.4016 | 1.3223 | 1.5499
Mean | 40.6141
Total standard deviation (+/-) | 28.7155
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 24.644 | 2.0048 | 1.2926 | 2.3854
Variance | 607.3253 | 4.0192 | 1.6708 | 5.6901
% of total variance | 99.0718 | 0.65565 | 0.27256 | 0.92821
Expanded relative uncertainty at the 95.44% confidence level |  | 10.7778 | 6.949 | 12.8238
Mean | 37.2026
Total standard deviation (+/-) | 24.7591
Uncertainty, u, for one sample | 2.3854
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 4.7708
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 12.8238
Uncertainty, U, for four measurements at each duplicated sample site | 1.6867
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 9.0678
*********************************************************************************
Element | Zr_ppm
Number of duplicated sample sites | 23
Coverage factor | 2
_________________________________________________________________________________
CLASSICAL ANALYSIS OF VARIANCE (ANOVA)
| Geochemical | Sampling | Analytical | Measurement
Sum of Squares | 1454610.125 | 80170.25 | 369.5
Standard deviation (+/-) | 125.1329 | 41.6991 | 2.8342 | 41.7953
Variance | 15658.2441 | 1738.8153 | 8.0326 | 1746.8479
% of total variance | 89.9636 | 9.9903 | 0.046151 | 10.0364
Expanded relative uncertainty at the 95.44% confidence level |  | 34.2758 | 2.3296 | 34.3549
Expanded uncertainty factor at the 95.44% confidence level |  | 1.3801 | 1.0297 | 1.3819
Mean | 243.3152
Total standard deviation (+/-) | 131.9284
_________________________________________________________________________________
ROBUST ANALYSIS OF VARIANCE (RANOVA)
| Geochemical | Sampling | Analytical | Measurement
Standard deviation (+/-) | 101.7324 | 9.5767 | 2.9825 | 10.0304
Variance | 10349.4883 | 91.7132 | 8.8956 | 100.6088
% of total variance | 99.0372 | 0.87763 | 0.085125 | 0.96276
Expanded relative uncertainty at the 95.44% confidence level |  | 8.3515 | 2.601 | 8.7471
Mean | 229.342
Total standard deviation (+/-) | 102.2257
Uncertainty, u, for one sample | 10.0304
Expanded uncertainty, eu, for one sample at the 95.44% confidence level | 20.0608
Expanded relative uncertainty, eu%, for one sample at the 95.44% confidence level | 8.7471
Uncertainty, U, for four measurements at each duplicated sample site | 7.0926
Overall expanded relative uncertainty, eU%, at the 95.44% confidence level | 6.1851
*********************************************************************************